## Sheet1
JEOL 9500 writing time estimator
Input
Area | 1000000 | [µm2] | Total area to write
Current | 11 | [nA] | Beam current
Min. Modulation | -28 | % | Lowest modulation, usually shot rank 0. Set to 0% if you only have positive or no modulation
Base dose | 260 | [µC/cm2] | Exposure dose defined by RESIST command in SDF
Beam pitch | 21 | [] | Beam pitch as written in the SHOT A, n command, i.e. in units of 0.25 nm
Output
Beam pitch | 5.25 | [nm] | Beam pitch in nm
Minimum dose | 187.2 | [µC/cm2] | Smallest dose as defined by base dose and modulation
Scanner frequency | 213.1907 | [MHz] | Must be below 200 MHz
Shot time | 4.6906 | [ns] | Must be above 5 ns
Writing time | 0:04 | hh:mm:ss | Writing time. Remember this is beam on time only, does not account for calibration or stage movement time
Writing time | 0.065657 | hours
Writing time | 0.0027357 | days
Threshold current | 10.3194 | nA | Highest beam current to stay below 200 MHz