Baking recipes for KS Spinner:

Danchip90c_60sec_vac:

Wait Before Loading(T=90C, error=5C)

Valves(Nitrogen=1on/off)

Vacuum(Rings=4)

Move Pins(proximity=0mm)

Delay(time=0H 1M 0S)

Danchip90c_60s_6in:

Wait Before Loading(T=90C, error=5C)

Valves(Nitrogen=1on/off)

Vacuum(Rings=6)

Move Pins(proximity=0mm)

Delay(time=0H 1M 0S)