## Sheet1
JEOL 9500 writing time estimator
Input
Area | 1000000 | [µm2] | Total area to write
Current | 2 | [nA] | Writing current
Dose | 260 | [µC/cm2] | Exposure dose defined by RESIST command in SDF
Beam pitch | 8 | [] | Beam pitch as written in the SHOT A, n command, i.e. in units of 0.25 nm
Output
Beam pitch | 2 | [nm] | Beam pitch in nm
Scanner frequency | 192.3077 | [MHz] | Must be below 200 MHz
Shot time | 5.2 | [ns] | Must be above 5 ns
Writing time | 0:22 | hh:mm:ss | Writing time. Remember this is beam on time only, does not account for calibration or stage movement time
| 0.36111 | hours
| 0.015046 | days