# Monthly LabAdviser update: 3/7 2018

|  |  |  |
| --- | --- | --- |
| Updated Subject | Contributor | Link to the updated pages |
| **Aligner Maskless 01**  Section “Exposure technology” has been added.  Updated: “Writing speed” and “Resoslution” in the section: “Process Parameters” | **Thomas A. Anhøj @danchip** | <http://labadviser.danchip.dtu.dk/index.php/Specific_Process_Knowledge/Lithography/Aligners/Aligner:_Maskless_01_processing> |
| **PECVD4**  Uniformity of LF\_SiO2 deposition on 7x2” carrier  Uniformity of MF\_SiN on PECVD4. 7 2” wafers on the 7x2” carrier | **Jesper F. Hansen @NILT** | [Deposition of Silicon Oxide using PECVD/LF SiO2 results](Specific%20Process%20Knowledge/Thin%20film%20deposition/Deposition%20of%20Silicon%20Oxide/Deposition%20of%20Silicon%20Oxide%20using%20PECVD/LF%20SiO2%20results)  [Deposition of Silicon Nitride using PECVD/MF SiN results](Specific%20Process%20Knowledge/Thin%20film%20deposition/Deposition%20of%20Silicon%20Nitride/Deposition%20of%20Silicon%20Nitride%20using%20PECVD/MF%20SiN%20results) |
| **ASE**  New page on SiO2 etching in the ASE | **Berit G. Herstrøm @danchip** | [Etch/Etching\_of\_Silicon\_Oxide/SiO2\_etch\_using\_ASE](http://labadviser.danchip.dtu.dk/index.php/Specific_Process_Knowledge/Etch/Etching_of_Silicon_Oxide/SiO2_etch_using_ASE) |
| **III-V ICP**  Adding new results on InP etching. Conclusion so fare: use SiO2 carrier – not Si. Or you will get bottom roughness in the open areas | **Karen Birkelund and Berit G. Herstrøm @danchip** | [III-V\_ICP/InP-InGaAsP-InGaAs#InP\_etching\_June\_2018](http://labadviser.danchip.dtu.dk/index.php/Specific_Process_Knowledge/Etch/III-V_ICP/InP-InGaAsP-InGaAs#InP_etching_June_2018) |
| **DRIE Pegasus**  DRIE Pegasus page updated with Pegasus 2  Comparison of DRIE trench profiles | **Jonas Michael-Lindhard** | [Etch/DRIE-Pegasus](http://labadviser.danchip.dtu.dk/index.php/Specific_Process_Knowledge/Etch/DRIE-Pegasus)  [DRIE-Pegasus/TrenchCharacterisation](Specific%20Process%20Knowledge/Etch/DRIE-Pegasus/TrenchCharacterisation) |

# Equipment Manuals updated in LabManager:

As an approved user on a piece of equipment you have to make sure you have read and understood the latest version of the manual before using the equipment.

|  |
| --- |
| **5. 3. 7.53) Manual for XRD SmartLab**, ver 1 |
|  | |
|  | |
| **5. 3. 7.11) Manual for Nikon ECLIPSE L200 optical microscope**, ver 5 | |
|  | |
|  | |
| **5. 3. 3.12) Manual for IBE/IBSD Ionfab 300**, ver 1.7 | |
|  | |
|  | |
| **5. 3. 5.02) Manual for Phosphorus Drive-in furnace (A3)**, ver 8 | |
|  | |
|  | |
| **5. 3. 2.05) Manual for LPCVD nitride furnace (6") E3**, ver 7 | |
|  | |
|  | |
| **5. 3. 2.04) Manual for LPCVD Nitride Furnace (4")**, ver 7 | |
|  | |
|  | |
| **5. 3. 3.17) Manual for Si Etch 3: KOH**, ver 2 | |
|  | |
|  | |
| **5. 3. 5.16) Manual for Furnace: Multipurpose Annealing**, ver 2.3 | |
|  | |
|  | |
| **5. 3. 2.03) Manual for Wordentec**, ver 10 | |
|  | |
|  | |
| **5. 3. 2.26) Manual for Temescal E-beam Evaporator**, ver 1 | |
|  | |
|  | |
| **5. 3. 8.06) Manual for Developer: E-beam**, ver 1.2 | |
|  |  | |